## Slide 1: Polymer Characterization: Nuclear Magnetic Resonance Spectroscopy (NMR)

## Slide 2: NMR Overview
NMR derives signals from particular nuclei based on the amounts of those nuclei in different chemical environments
NMR is a powerful tool for determining polymer structure and composition
1H and 13C are most used with polymers
Chemical shift, resonance splitting, and resonance integration identify particular nuclei
Most techniques require dissolving the sample in a deuterated solvent

## Slide 3: Polymer NMR Limitations
Resonance broadening can make it difficult to resolve closely-spaced signals
Many polymers are poorly soluble or insoluble, making them only accessible to this technique if a solid-state instrument is available
8
6
4
2
0
ppm
8
6
4
2
0
ppm
Polymerize

## Slide 4: NMR Uses: Determining % Conversion
In alkene-derived polymers, the integrations of the alkene resonances near 5-6 ppm can be compared to that of a repat unit resonance that is chemically distinct.
x
x
x
x
x
+
+
1H NMR spectrum courtesy of Nirob Saha, PhD

## Slide 5: NMR Uses: End-Group Analysis
Unique protons on a chain end can be compared to repeat unit signals to provide an estimate of MN.
+
+
*
*
Degree of Polymerization:
End group mass
Repeat unit mass
1H NMR spectrum courtesy of Nirob Saha, PhD

## Slide 6: NMR Uses: Copolymer composition
Comparing protons found in each repeat unit of a copolymer can be used to determine block lengths or monomer ratios.
x
x
*
*
*
*
*
*
If x = 2.00, then 3.00 of * int. is from acrylamide (AM)
(1.50+2.71) – 3.00 = 1.21 int. from HEA
1H NMR spectrum courtesy of Elizabeth S. Sterner, PhD